## Cover
Athens e-Ticketing System
Phase 1 Test Report
ACIM-MODTEST-SIU-02
Ver. 1.0
DATE: 23-12-2015
Prepared By : Application Team
Copyright © LG CNS
It is forbidden to copy and distribute on certain or whole part of this content without precedent approval of LG CNS

## Document History
Document History
No | Version | Change Date | Change Cause | Change Description | Author | Approver
1 | v1.0 | 23-12-2015 | new | Initial | Application Team
업무기능분해도
국민대학교 종합정보시스템 구축

## ACIM-MODTEST-SIU-02
▣ Scenario ACIM-MODTEST-SIU-02: Test SIU UPS Module
▶ Desc & Flow
Description |  | This flow describes the test operations of the change of status of the UPS
Biz flow ( It describe briefly )
Navigation FLOW
▶ Advance preparation
Preparation
▶ Data
NO | Item | 1 | 2 | 3 | 4 | 5
1
2

## 01
▶ Test Case ACIM-MODTEST-SIU-02-001 : View and check UPS Status
1. Test Scenario
Test date |  | 1st |  | Tester |  | 1st
|  | 2nd |  |  |  | 2nd
|  | 3rd |  |  |  | 3rd
Description |  | The maintainer navigates to the test page of the ups through the main navigation flow and then reads on the screen the current state of the ups. |  |  |  |  | Written by
Flow
NO | Task | Test data | Expected result | Person in charge | Result |  | Pass/Fail |  |  | Remark
[7 empty] | 1st | 2nd | 3rd
1 | Test of the state of the ups. |  | 1. On the test window of the ups device it must be shown the correct status of the ups |  | 1st
2nd
3rd
2. Test Data
NO | Item | Value

## 02
▶ Test Case ACIM-MODTEST-SIU-02-002 : Test UPS Status change
1. Test Scenario
Test date |  | 1st |  | Tester |  | 1st
|  | 2nd |  |  |  | 2nd
|  | 3rd |  |  |  | 3rd
Description |  | The maintainer navigates to the test page of the niche sensor through the main navigation flow and then switches the magnetothermal ON/OFF; on the screen must be traced the correct state of the ups device. |  |  |  |  | Written by
Flow
NO | Task | Test data | Expected result | Person in charge | Result |  | Pass/Fail |  |  | Remark
[7 empty] | 1st | 2nd | 3rd
1 | The maintainer switches the magnetothermal ON/OFF |  | 1. On the test window must be traced the correct change of state of the ups |  | 1st
2nd
3rd
2. Test Data
NO | Item | Value